## Cover Page
v3.2
Notificaton/Application to DNO of installation of dedicated Electric Vehicle charging equipment and/or Heat Pump
This spreadsheet must be completed and sent by the installer to the DNO(s) directly when installing an multiple Electric Vehicle Charge Point or Heat Pumps. It should be used for properties with an existing DNO connection. For new DNO connections, the spreadsheet should be used in addition to a new electricity connection application. To ensure the safety and security of the Electricity Networks, depending on the size, type and location of the installation, you may need to apply for a connection with the DNO prior to installation of the device. To determine if you need to apply to the DNO for a connection prior to installation or not, please ensure you read and understand the connection processes for Electric Vehicles and Heat Pumps on the ENA website here: http://www.energynetworks.org/electricity/futures/electric-vehicles-and-heat-pumps.html
Please note that:
● One row of the spreadsheet must be submitted per premises (unless you have multiple Heat Pump controllers).
● An ‘adequacy of the supply’ assessment is required prior to any Electric Vehicle Charge Point or Heat Pump installation. This requires a load survey to calculate the new Maximum Demand (MD), including the device to be installed.
● The DNO must be contacted in advance of installation where there is an identified issue with adequacy or safety concern with the premises existing service equipment, where the new MD is greater than the cut-out rating, where the new MD is >60A (13.8kVA single phase) for residential properties or the devices do not meet the required standards. Depending on the size and/or number of devices being connected, the DNO may ask for additional information to be supplied.
● In certain circumstances, for example if the total MD of the premises is ≤60A and adequacy of the connection is known, the DNO shall be notified within 28 days of the installation.
● Any reinforcement costs associated with this installation may be recharged to the customer.
Providing that this spreadsheet is fully and correctly completed, the following timeframes are applicable:
● Properties with new MD ≤60A and meeting all other relevant requirements - installers can connect their device(s) and shall notify the DNO by filling in this spreadsheet within 28 days of the installation
● Properties with new MD between 60A and 100A inclusive (and not CT metered) - the installer must apply for a connection prior to installation by filling in this form and the DNO will assess the supply capacity within 10 working days
● Properties with new MD >100A (and not CT metered) - the installer must apply for a connection prior to installation by filling in this form. Timescales as per the Electricity Distribution Licence, Electricity (Guaranteed Standards of Performance) Regulations 2010: https://www.ofgem.gov.uk/ofgem-publications/47616/connections-gsop-guidance-sept0809pdf
See local DNO connections Guaranteed Standards of Service for specific response timescales in your area.
Information regarding the completion of the form
● Please note that to ensure you comply with GDPR requirements, applications and notifications should only be sent to the relevant DNO that corresponds to the MPAN(s). Therefore, one spreadsheet should be sent per DNO. See distribution list below for email address details.
● You may submit the spreadsheet at any frequency you wish but the first date of installation must not be more than 28 days beforehand.
● Mouse-over Tooltips have been added to some title cells, these are denoted by a red triangle.
● The MPAN number is split into the first 8 digits and the last 13; this is so that the check digit can be verified. The cell will go green if correct, or red if incorrect.
● The MPAN Check and DNO columns should auto-fill; if they do not, or you have any further queries, please contact:
innovation@energynetworks.org
Distribution List
smallservices@ukpowernetworks.co.uk;
wpdnewsuppliesmids@westernpower.co.uk;
getconnected@northernpowergrid.com;
connectionapplications@enwl.co.uk;
connections@ssen.co.uk;
spevcharging@spenergynetworks.co.uk;
wpdnewsupplieswales@westernpower.co.uk;
wpdnewsupplies@westernpower.co.uk;
innovation@energynetworks.org;
EV.Notification@gtc-uk.co.uk;
For installations in Northern Ireland, please send information directly to: lctconnections@nienetworks.co.uk

## Form
Type of Installation | Date of Installation (if "connect and notify" applicable) | Are you claiming an OLEV grant for this installation? | Installer Contact | [7 empty] | Customer Details | [5 empty] | Installation Address (if different from Customer Address) | [6 empty] | DNO | Number of phases | Declared Voltage at Connection Point (Volts) | Max. Demand of Property with EVCP and/or HP (Amps - Whole Current Metered, or kVA - CT Metered) | Does this premises include an import or load limiting device? | Max. Demand all EVCPs/HPs combined can draw (Amps) | Max. Demand: Single or three phase? | Number of EVCPs installed (if applicable) | Number of HPs installed under 1 controller (if applicable) | Has the DNO been contacted about this installation and confirmed supply capacity | Supply Capacity (Amps) | Cut-out rating - if known - Whole Current Metered only (Amps) | Premises Existing Agrred Maximum Import Capacity - CT Metered only (kVA) | Final or Proposed Earthing Arrangements | Looped Service? | Type of Installation | Are there issues with adequacy of the existing supply equipment? | If yes, please detail | Heat Pumps Only | [5 empty] | Please fill in the following additional Power Quality details required for non-registered Heat Pump Models | [5 empty] | Further Comments
|  |  | Name | Company | Installer Address Line 1 | Installer Address Line 2 | Town | Postcode | Phone | Email | EV Charge Point/Heat Pump Owner | Customer Address Line 1 | Customer Address Line 2 | Town | Postcode | Phone | Name | Installation Address Line 1 | Installation Address Line 2 | Town | Postcode | Phone | MPRN | [18 empty] | Heat Pump Manufacturer (if applicable) | Heat Pump Model | Rating of Heat Pump module only (kVA) | Heating Only HP or Heating and Cooling? (if applicalbe) | Does the Heat Pump have additional compenents installed? Add additional components in new columns as required | ENA Heat Pump Type Register Number - If Applicable | For non-registered HP models, is the Heat Pump Datasheet and Power Quality Documentation attached to this application? | Does the HP installation meet the Microgeneration Certificate Scheme Product Requirements? | Harmonics: Does the proposed HP installation comply with the technical requirements of BS EN/IEC 61000-3-2? | Harmonics: Does the proposed HP installation comply with BS EN/IEC 61000-3-12? | Flicker: Does the proposed HP installation comply with the technical requirements of BS EN/IEC 61000-3-3? | Flicker: Does the proposed HP installation comply with BS EN/IEC 61000-3-11?
EV Charge Point | 2018-11-02 | Yes | John Smith | Example Renewables | 3 Elsmere Way |  | Rickmansworth | WD4 5BG | 020 7706 5164 | john.smith@examplerenewables.com | Joe Bloggs | 1 Example Road | Westminster | London | SW1P 2AF | 02890654321 | N/a | N/a | N/a | N/a | N/a |  | 81000000000 | NIE Networks | Single Phase | 230V | 52A | No | 32A | Single Phase | 1 | N/a | Yes | 100A | 80A |  | TN-C-S (PME) | No | Private - Domestic | No | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | N/a | EV Charge Point | 1*16A | Single Phase | TN-C-S (PME) | Yes | Heating only
Heat Pump | 2018-11-04 | No | John Smith | Example Renewables | 3 Elsmere Way |  | Rickmansworth | WD4 5BG | 020 7706 5164 | john.smith@examplerenewables.com | John Smith | 5 Any Road | Castlereagh | Belfast | BT1 XXX | 02890123456 | N/a | N/a | N/a | N/a | N/a |  | 81000000001 | NIE Networks | Three Phase | 415V | 42A | Yes | 32A | Three Phase | N/a | 1 | Yes | 100A | 100A |  | TN-C-S (PME) | No | Private - Non-domestic | No | N/a | Panasonic | WH-MXC12G6E5 | 6.27 | Heating and cooling | N/a | HP_0201 | N/a | N/a | N/a | N/a | N/a | N/a | N/a | Heat Pump | 2*16A | Split/two Phase | TN-S (SNE) | No | Heating and cooling
[56 empty] | 1*32A | Three Phase | TT (Direct) | N/a | N/a
1*32A & 1*16A
2*32A
2*32A & 1*16A
2*32A & 2*16A
1*64A
1*128A
N/a
Note on A1: Please note that one technology per row should be used. Depending on type of technology selected, non-required cells will be grayed out. No information is required for these cells.
Note on C1: Will you be making an OLEV Claim for this installation?
Note on AB1: Include the additional load of the charge point(s) or heat pump(s) to be installed - determined from adequacy of the supply assessment. Also include any import or load limiting devices.
Note on AD1: Include any associated immersion elements. The maximum simultaneous demand must be stated. Additional equipment/reconfiguration not included in this application is not permitted after installation
Note on AG1: If there are multiple controllers a separate entry (row) must be filled in for each controller
Note on AI1: Essential if new MD >60A
Note on AJ1: Please type 'unknown' if value is uncertain - see ENA website for guidance. If the cut-out rating is unknown or uncertain, it can be established by raising an enquiry with the DNO. If the supply capacity still cannot be established, the ‘Apply to Connect’ process must be followed and the timeframes mentioned on the 'Cover Page' tab are applicable. Please note that one should not open the cut out. If the cut-out rating is unknown, a picture can be provided to the DNO.
Note on AL1: Detail the final earthing arrangements that have been applied for the installation of the charging point as per BS 7671 and IET Code of Practice e.g. protective multiple earthing (PME).
Note on AN1: • Private – Domestic • Private – Non-domestic • Public access e.g. car park, on street, please attach location map to email submission
Note on AQ1: This section (columns AQ through BA) does not need to be completed for EV charge point installations
Note on AW1: This section does not need to be completed if the HP is in the ENA HP Database and you have confirmed that the information in the database is correct and accurate
Note on AQ2: This section does not need to be completed for EV charge point installations
Note on AS2: Insert the rating of only the Heat Pump Module
Note on AV2: If the Heat Pump model is not in the ENA Heat Pump Type Register Database then please attach the datasheet and other power quality documentation when sending this spreadsheet, as well as filling out the following section (columns AV through BA)
Note on AW2: Must be provided
Note on AX2: https://www.microgenerationcertification.org/mcs-standards/product-standards/heat-pumps/

## Validation (hidden)
Record Type | Installation Size | Cut Out Raing | Cut Out Known | Type of Installation | Looped Service?
Notification | 1*16A | 40A | Assumed | Private - Domestic | Yes
Application | 2*16A | 60A | Verified | Private - Non-domestic | No
New Connection | 1*32A | 80A |  | Public Access | Don't Know
| 1*32A & 1*16A | 100A
1*32A & 2*16A
2*32A
2*32A & 1*16A
2*32A & 2*16A
1*64A
1*128A